Potato People:

Fiske-Subbarow

Read the Introductory material for the Fiske-Subbarow assay in the experimental protocol, i.e. make sure test tubes are well rinsed with dH2O before doing assay.

You need a good Pi Standard Curve (straight line) for the group to derive phosphate values for the remainder of the experiment.

Procedure for Hydrolysis:

Using 0.1 mL of G-1-P solution, add 1 mL of 1N HCl.

Place tubes in a boiling water bath in the hood for 7 minutes.

Add 1 mL of 1N NaOH to neutralize (don’t worry about measuring the pH).

Adjust the volume to 3 mL by adding 0.9 mL of dH2O.

Preparation of Unhydrolyzed samples:

Using 0.1 mL of G-1-P solution, adjust the volume of all tubes to 3 mL by adding 2.9 mL of dH2O.

General procedure used for all tubes (hydrolyzed and unhydrolyzed):

Add IN ORDER:

1 mL Acid Molybdate Reagent

1 mL Reducing reagent

5 mL dH2O

Allow color to develop for 15-20 minutes.

Make sure spectrophotometer is set at 660nm.

Note:

Fiske-Subbarow without Hydrolysis is a measure of Pi

Fiske-Subbarow after 7-Min Hydrolysis is a measure of G-1-P